## Slide 1
“Reduce emissions from fossil fuel combustion”
Use fuel more efficiently.
Reduce demand
for energy.
Displace with renewable energy.
HOW?
RESEARCH TOPIC

## Slide 2
USING FUEL MORE EFFICIENTLY
Ordinary thermal generating plant only uses 33% of fuel energy.
CHP plant can use up to 90%.

## Slide 3
Waste heat
Generation
Demand for heat and electricity
Electricity transmitted over long distance
CENTRALISED GENERATION

## Slide 4
EMBEDDED GENERATION

## Slide 5
CONTROLLING CENTRALISED GENERATION
Generation status
Generation control
Network voltages, currents, power flows
Predicted demand
Control is required for optimum utilisation and network stability.

## Slide 6
CONTROLLING EMBEDDED GENERATION
?
Control is still required. But, no suitable control system exists.

## Slide 7
CHALLENGES OF EG CONTROL
Large number of small generators
Unpredictable output from RE generators
Complex interactions between generators and network

## Slide 8
A POSSIBLE EG CONTROL SYSTEM

## Slide 9
HARDWARE CONSIDERATIONS
Computers and networking
Demand data acquisition
Automatic generation control (AGC)
EG systems currently have little or no AGC capability
So, we developed the ‘smart inverter’ which adds AGC to many RE systems.

## Slide 10
SOFTWARE
Must fulfil utilisation and network stability criteria
Real-time operation: cannot be too complex
We developed a simple algorithm using supply/demand matching and cost/benefit analysis.
Each supply assigned a cost
Each demand assigned a benefit
Supplies and demands matched for optimal benefit/cost ratio

## Slide 11
DEMONSTRATION SYSTEM